## Sheet1
Alpine Sample Lumen Compliance Workbook
Complete Fixture Ordering Number | Label | Kelvin | Mtg Height | # Lamps | Initial Lumens | LLF** | Total | Other Notes
Bantam Chestnut Wall Sconce;BLE - W -CLAR10 400 with Maxlite LED 18057 13W Par 38 in 2700K | A1 | 2700K | 10 | 11 | 1050 | 0.95 | 10972.5 | Fully Shielded due to depth of fixture causing bulb to be recessed.
Bantam Chestnut Wall Sconce;BLE - W -CLAR10 400 with Maxlite LED 18057 11W Par 30 short neck in 2700K | A2 | 2700k | 13 | 4 | 850 | 0.95 | 3230 | Fully Shielded due to depth of fixture causing bulb to be recessed.
Bowman 6 Wall Sconce; 700WSBOW-LED 827277 | B3 | 2700k | 8 | 4 | 1163 | 0.95 | 4419.4
BK-E26-12-B-25 w/BK-111-BZ shades & L-BK-S14-1-120 | SD | 2700K | 9 | 80 | 60 | 0.95 | 4560
|  |  |  | Total Initial Luminaire Lumens |  |  | 23181.9
|  |  |  | Site Allowed Total Initial Lumens |  |  | 31074.5952
|  |  |  | Is Project within Lumen Limits? |  |  | YES
Illuminated Acres (Note 1 acre = 43,560 sq ft)
Allowance Description | Square Feet | Allowed per Sq Ft
Gross square footage of portion of site to be illuminated. See Site Sq Ft Note below. | 16560
Square footage of building footprints within part of site to be illuminated. | 3024
Calculated Square footage of area to be illuminated | 13536 | 2.2957 | 31074.5952
Site Allowed Total Initial Lumens
** LLF = Use efficiency defined by manufacturer
If efficiency unknown, use 0.95 for LEDs.
If unknown for non-solid state (non-LED) lamps use 0.80
Site Sq Ft Note:
Only the outdoor area to be illuminated may be included in the square footage used to determine site allowed total initial lumens.
This is often easiest to calculate by starting with the square footage of the site and substracting the buildings.
That's what is being done here. Check with your lighting reviewer if you have questions.